|  | HO CHIEN ELECTROINC GROUP, INC. 1687 Curtiss Court, La Verne, CA 91750 Tel: (909) 596-6298 ¦ Fax: (909) 596-3998 | www.hochien.com |
| --- | --- | --- |

Category 5e Twisted Pair cable, 24 AWG Stranded

Multicore Pairs > LAN Category 5 and 5e cable

This cable is used in Local Area Networks and consists of four sets of accurately twisted pairs of copper wires insulated with a select material to provide high bandwidth, and low attenuation and crosstalk.

Product Description

LAN cable is manufactured in accordance with specification TIA/IEC-568-A (Commercial Building Telecommunication Cabling Standard). TIA stands for Telecommunications Industry Association and represents the communications sector of the Electronic Industries Alliance (EIA)

A reference Standard for the cable is UL 444, but also reference should be made to IEEE 802.3

Conductors: Bare, Solid or Stranded Copper, 24 AWG

Colour Coded PE Insulation:

Pair 1 – White-Blue/Blue
Pair 2 – White-Orange/Orange
Pair 3 – White-Green/Green
Pair 4 – White-Brown/Brown

Each pair is precisely twisted during manufacture to ensure that the transmission specifications are adequately met, preferably with some overhead.

Ratings

Rated Temperature: 60 deg C, 75 deg C

Flame Test: Passes UL Riser and CSA FT4.

Performance Characteristics

There are a number of characteristics that are measured for UTP cable. Some of the characteristics and their value are different for higher performance cable. The tests are very comprehensive and the result too complex to present here. The definitions and an indication of a good cable is shown below:

Applications

For use in Commercial Buildings for Local Area Networks up to 100 MHz. The TIA specification clearly states how the cables are to be used.